# Please also refer to “Part IV – REGULATORY REQUIREMENTS” for additional requirements.

**Housing and Dining Facilities (HDS) has adopted amendments for all HDS facilities. Confirm applicable standards with Project Representative on a per Project basis.**

**Housing and Dining Services takes the following exceptions highlighted in Gray.**

**DIVISION 14 – CONVEYING EQUIPMENT 14 20 00 – ELEVATORS**

G. Special Mechanical Traits:

5. All units shall be equipped with the following: fire recall, telephone box and communication wiring within traveling cable, micro light safety edge on passenger doors, roller guides or door hangers designed for strength to withstand heavy use and impact from items such as carts and equipment.

* + 1. HDS: Cable wiring includes video camera capability.

9. HDS: Tubular Plug locks are required on all door release ports on all residential elevators.

# END OF DIVISION